## BOQ
FIRE AND SAFETY REQUIREMENTS FOR ACIRD LAB
BOQ
SR NO | DESCRIPTION | HSN/SAK | UNIT | QUANTITY | RATE | AMOUNT
1 | SITC of UL listed Conventional Fire alarm 4 zone as per specifications complete with instalation fixing and testing with required material and Module per loop, all as per specification make AGANI/SYSTEM SENSOR/APOLLO | 8531 | No | 2
2 | SITC of UL listed Conventional Sounder cum flesher complete with mounting box Make AGANI/LIFE SAFETY/ | 8531 | No | 5
3 | SITC MCP MANUUAL CALL POINT, WITH RESPONSE INDICATOR. AGANI/LIFE SAFETY | 8531 | NO | 5
4 | SITC of Twisted pair, 2 Core 1.5 sq mm PVC, copper cable for connection for connection to fire detectors, call points and hooters in series including making the connection with necessary MAKE. glads Havells, Ecko, Polycab | 8531 | Mtr | 500
5 | SITC Smoke detectors with all acessories and required wiring as per standerds. AGANI/LIFE SAFETY | 8531 | Mtr | 60
6 | P.V.C PIPE CONDUTE used for cable for wiring of Alarm System 25mm dia with flex bends and other material. Polyplast/jindal heavy gauge | 8531 | No | 480
7 | ERRECTION CHARGES FOR DETECTOR ,FIRE ALARM SYSTEM AND CONNECTION CABLE |  | Job | 1
8 | Fire extinguisher cap 4 kg (LIFE SAFETY/FIRE STOP/Classic Agni) | 8424 | No | 13
9 | SUPPLY AND FIXING OF CO2 4.5 KG FIRE EXTINGUISHER (LIFE SAFETY/FIRE STOP/Classic Agni) | 8424 | No | 13
TOTAL
| Taxes |  |  |  | 18%
GRAND TOTAL
Delivery Period
Payment terms
Warranty/Secuiry